## Slide 1: Short Read Sequencing Analysis Workshop
Day 1
Considerations for Sequencing

## Slide 2: What is short-read sequencing?
VS
50-250bp
10-50kb or more

## Slide 3: How does Illumina sequencing work?
http://bitesizebio.com/13546/sequencing-by-synthesis-explaining-the-illumina-sequencing-technology/
Library generation and affixing library to flow cell

## Slide 4: Anatomy of a library
P5 and P7 ends of adapters bind to flow cell
DNA insert typically ranges 200-600 bp (<1kb)
Different methods of indexing
  Inline (part of the insert) – any level of multiplexing
  Single index read (≤96)
  Dual index reads (384+)

## Slide 5: How does Illumina sequencing work?
Cluster Generation

## Slide 6: How does Illumina sequencing work?
Sequencing by synthesis
with reversible terminators

## Slide 7: How does Illumina sequencing work?

## Slide 8: Output: Millions of short read sequences
Read 1
ATCGACGGTTAACTGATCG…
ATGCGTGCTGCAGTGCCAC…
CGTGGACCAAATGGCACAT…
CTGTGAAACAATTGGGGAT…
ATGCGTGCTGCAGTGCCAC…
ATCGACGGTTAACTGATCG…
ATGCGTGCTGCAGTGCCAC…
CGTGGACCAAATGGCACAT…
CTGTGAAACAATTGGGGAT…
ATGCGTGCTGCAGTGCCAC…
ATGCGTGCTGCAGTGCCAC…
ATCGACGGTTAACTGATCG…
ATGCGTGCTGCAGTGCCAC…
CGTGGACCAAATGGCACAT…
CTGTGAAACAATTGGGGAT…
ATGCGTGCTGCAGTGCCAC…
Index Read 1 (i7)
TCAGTGCT
ACGTTCTA
TCAGTGGG
CTCGGCGA
ACGTTCTA
TCAGTGCT
ACGTTCTA
TCAGTGGG
CTCGGCGA
ACGTTCTC
ACGTTCTA
TCAGTGCT
ACGTTCTA
TCAGTGGG
CTCGGCGA
ACGTTCTC
Read 2
CTGGTGACAACTGATGCTT…
TGACCATTGGGTACAACCC…
CCAGTGAACGTGAGCAAGT…
GGTTGACCATTGGGGTGAC…
TGACCATTGGGTACAACCC…
CTGGTGACAACTGATGCTT…
TGACCATTGGGTACAACCC…
CCAGTGAACGTGAGCAAGT…
GGTTGACCATTGGGGTGAC…
TGACCATTGGGTACAACCC…
TGACCATTGGGTACAACCC…
CTGGTGACAACTGATGCTT…
TGACCATTGGGTACAACCC…
CCAGTGAACGTGAGCAAGT…
GGTTGACCATTGGGGTGAC…
TGACCATTGGGTACAACCC…
Index Read 2 (i5)
ACGTTCAT
CAACGTTC
ATTCAGTG
GCCTCGGC
CAACGTTC
ACGTTCAT
CAACGTTC
ATTCAGTG
GCCTCGGC
CAACGTTC
CAACGTTC
ACGTTCAT
CAACGTTC
ATTCAGTG
GCCTCGGC
CAACGTTC

## Slide 9: Demultiplexing
Read 1
ATCGACGGTTAACTGATCG…
ATGCGTGCTGCAGTGCCAC…
CGTGGACCAAATGGCACAT…
CTGTGAAACAATTGGGGAT…
ATGCGTGCTGCAGTGCCAC…
ATCGACGGTTAACTGATCG…
ATGCGTGCTGCAGTGCCAC…
CGTGGACCAAATGGCACAT…
CTGTGAAACAATTGGGGAT…
ATGCGTGCTGCAGTGCCAC…
Index Read 1 (i7)
TCAGTGCT
ACGTTCTA
TCAGTGGG
CTCGGCGA
ACGTTCTA
TCAGTGCT
ACGTTCTA
TCAGTGGG
CTCGGCGA
ACGTTCTC
Read 2
CTGGTGACAACTGATGCTT…
TGACCATTGGGTACAACCC…
CCAGTGAACGTGAGCAAGT…
GGTTGACCATTGGGGTGAC…
TGACCATTGGGTACAACCC…
CTGGTGACAACTGATGCTT…
TGACCATTGGGTACAACCC…
CCAGTGAACGTGAGCAAGT…
GGTTGACCATTGGGGTGAC…
TGACCATTGGGTACAACCC…
Index Read 2 (i5)
ACGTTCAT
CAACGTTC
ATTCAGTG
GCCTCGGC
CAACGTTC
ACGTTCAT
CAACGTTC
ATTCAGTG
GCCTCGGC
CAACGTTC
Current Illumina kits allow up to 384 unique indexes to be pooled

## Slide 10: Demultiplexing
Read 1
ATCGACGGTTAACTGATCG…
ATGCGTGCTGCAGTGCCAC…
CGTGGACCAAATGGCACAT…
CTGTGAAACAATTGGGGAT…
ATGCGTGCTGCAGTGCCAC…
Index Read 1 (i7)
TCAGTGCT
ACGTTCTA
TCAGTGGG
CTCGGCGA
ACGTTCTA
Read 2
CTGGTGACAACTGATGCTT…
TGACCATTGGGTACAACCC…
CCAGTGAACGTGAGCAAGT…
GGTTGACCATTGGGGTGAC…
TGACCATTGGGTACAACCC…
Index Read 2 (i5)
ACGTTCAT
CAACGTTC
ATTCAGTG
GCCTCGGC
CAACGTTC
Sample 1
Read 1 Read 2
ATCGACGGTTAACTGATCG… CTGGTGACAACTGATGCTT…
CGTGGACCAAATGGCACAT… CCAGTGAACGTGAGCAAGT…
Sample 2
Read 1 Read 2
ATGCGTGCTGCAGTGCCAC… TGACCATTGGGTACAACCC…
ATGCGTGCTGCAGTGCCAC… TGACCATTGGGTACAACCC…
Sample 3
Read 1 Read 2
CTGTGAAACAATTGGGGAT… GGTTGACCATTGGGGTGAC…

## Slide 11: Different types of sequencing libraries
Whole genome sequencing
RNA Sequencing/GRO-Seq
ChIP-seq
DNAse 1, ATAC-seq
Exome sequencing
Methyl-Seq
Metagenomic/Amplicon (low diversity)

## Slide 12: What type of library is best for you?
Ligation-based
  Genomic (WGS)
    PCR based
    PCR-free
  Standard RNA-Seq
    RNA-ligation (small RNA)
    DNA-ligation
  ChIP-Seq
  ddRAD/RAD-seq*
PCR-based
  Amplicon (eg. 16s)
  Custom target methods
  Tag-seq (RT + template switching)
“Tagmentation”
  Genomic
  Long amplicon
    Lose 50bp on ends of amplicon
  ATAC-seq
Notes: Figure ~ 15 minutes to go through all of these – explain what they look like, show how they are constructed and typical sizes. Make handout with a single page overview for people to reference later – or have a second computer to have that up on a slide

## Slide 13: What to do with the data?
Short Read Sequencing
Assembly
Quality Metrics & Trimming
Align to reference genome
Variant Calling
Expression/Read Depth
Alternative splicing
Peak/Region identification
Metagenomics

## Slide 14: Quality Assessment & Trimming
Pinpoint problems with library prep/sequencing
Identify possible biases
Improve mapping through trimming

## Slide 15: Align to reference genome
Sample 1 reads
Sample 2 reads
Sample 3 reads
Reference
Bowtie2
Tophat2
BWA
Chr1 1000-2500

## Slide 16: Variant Calling
Reference
A
C C C C C
C
C
Chr1 1000-2500

## Slide 17: Differential Expression
Reference
Chr1 1000-2500

## Slide 18: Alternative Splicing

## Slide 19: Peak/Region identification
Reference
Chr1 1000-2500
Peak

## Slide 20: Experimental Design considerations
Genome Size
Read Length
Sequencing Depth
# of Replicates
Single-end vs. Paired-end
Insert Size

## Slide 21: Coverage & Read-depth
Coverage = estimate of average number of reads covering a single base
Avg Coverage = (# reads) x (read length)
size of genome
Reference
Depth
D
E
P
T
H

## Slide 22: Coverage and read length considerations
Genomic DNA
Read Length:
  Any, but longer reads are best (2x150)
Replicates:
  Not routinely performed
Coverage:
  Typical variant calling – 30X coverage in diploids
  Rare variants – 100X coverage
  Skim-seq – 5X coverage
  Shotgun Metagenomic – depends on diversity of sample 20-200M reads
RNA-seq
Read Length:
  1x50/1x75 for differential expression
  2x75 or 2x150 for alternative splicing
Replicates:
  At least 3 biological
  Replicates trump read numbers
Coverage/reads:
  Human/Mouse/Rat
    Gross differential expression: 20-30M reads
    Alternative splicing, lowly expressed RNAs: >60M reads

## Slide 23: Coverage and read length considerations
ChIP-seq/ATAC-seq
Use ENCODE standards!
  https://www.encodeproject.org/chip-seq/
Read Length:
  1x50, 1x75, 2x37
Replicates/Controls:
  Input gDNA or IgG control for each sample/treatment
  2 biological replicates are sufficient
Coverage/Reads:
  Depends on the target
  Histone: 10-20M
  TF: >10M
Amplicon sequencing
Read length:
  Depends on the amplicon
Replicates:
  Depends on the experimental design
Coverage/reads:
  Amplicon testing/screen: 100X per target
  Metagenomic: Depends on complexity of population
    Check out the Earth Microbiome Project

## Slide 24: What that means in reads...
30X Coverage with 2 x 150 bp reads
  For E. coli, ~4.6 Mb
    138 Mbp, 0.46 Million reads
    ~3% of a MiSeq run
  For Human, ~3.2 Gb
    96 Gbp, 320 Million reads
    80% of a NextSeq High Output run or 1.3 lanes of HiSeq 2500 run

## Slide 25: Library indexing considerations
Single 6bp indexing
  Good for a small number of samples (<24)
  Index hopping may be an issue
Combinatorial-Dual (CD) indexing
  Being phased out, good for <384 samples. Index hopping may be an issue.
Unique-Dual indexing (UDI)
  AKA, non-redundant indexing
  Best indexing to avoid index hopping
Unique Molecular Identifiers (UMI)
  Unique tags for each molecule in the library
  Reduces false discovery in variant calling
  Reduces/Eliminates PCR bias

## Slide 26: Other considerations
Base diversity (at each position)
Custom versus kitted libraries – kit biases
PCR/PCR-free libraries
How unique is the run-type you want
Queue times/Data delivery times
Many more....

## Slide 27: A variety of Illumina sequencing platforms
 | iSeq 100 | MiSeq | NextSeq | HiSeq 4000 | NovaSeq
Run time | 9-17.5 hr | 9-55hr | 12-30hr | 1-3.5 days | 13-44hrs
Throughput | 1.2GB | 7.5-15Gb | 120Gb | 1500Gb | 6000Gb
Read output | 4M | 12-25M | 130-400M | 6B | 20B
Color system | 1 channel | 4 channel | 2 channel | 4 channel | 2 channel
Flowcell | Patterned | Non-Patterned | Non-Patterned | Patterned | Patterned

## Slide 28: Platform Comparison - Imaging
iSeq imaging: no more photos!
1 & 2 channel chemistry:
Advantages: Much faster (only 2 images) & less storage
Disadvantages: Sensitive to low diversity
Illumina cmos tech note (770-2013-054B)

## Slide 29: Platform Comparison - Flowcells
Patterned
  Ordered Nanowells – clustering occurs only in nanowells
  Exclusion Amplification
  Increases throughput
  But, very sensitive to loading concentration, fragment size distribution, INDEX HOPPING

## Slide 30: What is index hopping?
What is index hopping?
Index hopping occurs when free floating adaptor acts as a primer during cluster amplification, causing index miss-assignment.
Sinha, R., et al. 2017. Index Switching Causes “Spreading-Of-Signal” Among Multiplexed Samples In Illumina HiSeq 4000 DNA Sequencing. bioRxiv. DOI: 10.1101/125724
When should I worry about it?
When using patterned flow-cells, particularly when you are looking for rare variants or transcripts or when doing low-pass sequencing.
How do I prevent it?
Remove free floating adapter from library pool. Use non-redundant indexes.

## Slide 31: Which Sequencer should I use?
MiSeq
  15-25 M reads/run
  1x50 to 2x300
  $$$/bp
  Amplicon &QC sequencing
NextSeq
  130-500 M reads/run
  1x75 to 2x150
  $$/bp
NovaSeq6000
  650M-10B reads/run
  2x50 to 2x250*
  $/bp

## Slide 32: Questions? Other questions email biof-ngs@colorado.edu